## Slide 1: Application of Data Intensive Science To The Electrical Energy Grid
Albert Dove, Ivan Hofsajer & Willie Cronje
School of Electrical and Information
Engineering
University of the Witwatersrand

## Slide 2: Contents
Problems with the electrical energy grid
Proposed solution
Examples
Comparison
Conclusions

## Slide 3
Energy Grid

## Slide 4: Old Energy grid
Power station
Customer
Transmission
Easy maintenance
Cost effective
Supply
Demand

## Slide 5: Evolution of grid
Increased demand
Supply
Increased Supply
Grid cannot cope
Physical instability
Increased demand

## Slide 6: Possible Solutions
Why can’t we do this?
Match These
Generation
Demand
Distance

## Slide 7: Measurement points
Control guy
System Control
Large number of measurement points
Interventions
Maximise management and control
Switching points
Load shedding

## Slide 8: Metering
Measure: Voltage, Current & Phase
Each for 3 phases
Each for 4 harmonics
36 measurements
At 50 Hz
1800 measurements/s
8 bit resolution
14,4 kb/s
20 million users
288 Gb/s
= Big data stream

## Slide 9: Example
Picture from W Cronje
Time domain
Geyser
Washing machine

## Slide 10: Frequency domain

## Slide 11: Frequency domain
Washing machine only

## Slide 12: Useful Information
Manage loads
Re- route power

## Slide 13: Architecture
Medium: 1 min
Slow: 1 hour
Fast intervention
Aggregation
Central processing
Archived
Sub cycle fast: 1 sec
users
Slower intervention
Intervention
14.4 kb/s
pre-processing
Intelligent Energy Grid Data System

## Slide 14: Is this the same problem?
Yes
Big Data
Data reduction
Stream continuously
High performance computing
Customised hardware
No
Spread out
Two way communication
Continuously operational, 24hrs- forever
Processed data is different

## Slide 15: Conclusions
What can be borrowed?
Design philosophy
Advanced distributed data processing infrastructure HPC
Fast interactive data management
Fast decision making software
Optimised long distance data streaming/transport
Computing intensive data calibration and reconstruction

## Slide 16: Thank you!