## Slide 1: SpecMAT, the active target for nuclear transfer reactions studies at ISOLDE, CERN
Oleksii Poleshchuk
TIPP2023
Cape Town, 8 September 2023

## Slide 2: Outline
Motivation to build SpecMAT
and its overview
Characterisation of the SpecMAT active target
A (d,3He) reaction for SpecMAT

## Slide 3: Motivation and Overview

## Slide 4: Physics motivation
Major challenges:
Low production rates of RIBs
Inverse kinematics of the nuclear reaction.
Possible solution:
A detector with high efficiency and good resolution
Main goal: to study nuclei far from stability using transfer reactions.

## Slide 6
1.4GeV protons
RIB
HIE-ISOLDE

## Slide 7
ISS
ISS = ISOLDE Solenoidal Spectrometer
Currently: 2.5T
Perspective: 4T
SpecMAT
RIB
ISS

## Slide 9
Readout electronics
1-100MS/s 12bit
3072+256 channels
MICROMEGAS detector
2916 channels
Field cage
homogeneous electric field ~2%
45 CeBr3 484848mm
scintillation
detectors
Gas chamber
up to 1 atm
min wall thickness 3mm
Beam entrance
window
3-12 m
Cathode
up to -32kV

## Slide 10
B
Scintillation detectors
3He
71Cu
72Zn
Electronics
MICROMEGAS
Field cage
Gas chamber
Entrance window
Beam line
D2
-e
h
h
h
h
h
h
h
h
h
h
-e
-e
-e
-e
-e
-e
-e
-e
-e
-e
(x1, y1, t1)
(x2, y2, t2)
(x3, y3, t3)
(x4, y4, t4)
(x5, y5, t5)
…
Descriminate/identify particles
Energy
Angular distribution
Gamma-ray spectroscopy

## Slide 11: Characterisation of the SpecMAT active target

## Slide 12
Characterisation of the array with 30 detectors, Measurement vs G4
Linear source (Experimental condition)
Res: 30.5 keV(4.6%) @ 662keV
Eff: ~6.5% @ 662keV
+

## Slide 13
Eff: ~8.1% @ 662keV
Linear source (Experimental condition)
Point source
Characterisation of the array with 45 detectors, G4
x45 CeBr3
detectors
Res: >33.5 keV(5%) @ 662keV
Ebeam = 10 MeV/u
Eff: ~13% @ 662keV

## Slide 14
SpecMAT field cage

## Slide 15
SpecMAT field cage
220 mm
323.5 mm
4.6 mm
Beam direction

## Slide 16
Position of the source
Measured -particle track
in Ar95%CF45% @ 0.4mbar

## Slide 17
Measured -particle spectra
in Ar95%CF45% @ 0.4mbar

## Slide 18
[physicsopenlab.org]
-particle
-ray
[nndc]
Measured - correlation spectra
in Ar95%CF45% @ 0.4mbar
59.5 keV
26.3 keV
5485.56 keV
T1/2 = 67.4(4.4) ns
O. Poleshchuk, R. Raabe, et.al., NIM A “The SpecMAT active target”
Volume 1015, 1 November 2021, 165765

## Slide 19
Detector configuration | Pressure of ArCF4(10%), mbar
3 sectors + scint. in 2.5T | 100 / 250 / 350
3 sectors + scint. in 0T | 
A 4-alpha source was used for the characterisation: 148Gd, 239Pu, 241Am, 244Cm
Ar(90%)CF4(10%)
Pressure, mbar | 148Gd 3182 keV | 239Pu 5155 keV | 241Am 5488 keV | 244Cm 5805 keV
 | Range, mm |  |  | 
100 | 190 | 369.7 | 404.496 | 438.848
250 | 76.84 | 147.9 | 161.797 | 175.537
350 | 54.73 | 105.63 | 115.568 | 125.38
Offline tests of the SpecMAT active target in ISS 2022

## Slide 20
SpecMAT installed in ISS
Measured -particle
track in B=2.5T
Tests of the SpecMAT active target in ISS

## Slide 21
Tests of the SpecMAT active target in ISS
Comparison of the SpecMATscint G4 simulation
with preliminary analysis of the measurement ( Ar90%CF410% @ 250 mbar)
Measured -particle
track in B=2.5T
Measurement
results

## Slide 22
Tests of the SpecMAT active target in ISS
Comparison of the SpecMATscint G4 simulation
with preliminary analysis of the measurement ( Ar90%CF410% @ 250 mbar)
Measured -particle
track in B=2.5T
148Gd
239Pu
241Am
244Cm
G4
Measurement
 7mm
 7mm

## Slide 23
Tests of the SpecMAT active target in ISS
Comparison of the SpecMATscint G4 simulation
with preliminary analysis of the measurement ( Ar90%CF410% @ 250 mbar)
Measured -particle
track in B=2.5T
148Gd
239Pu
241Am
244Cm
G4
Measurement
 0.1mm
 7mm

## Slide 24
Online commissioning of SpecMAT at HIE-ISOLDE 2023
22Ne @ 7.58 MeV/u on D2 @ 800 mbar
8 𝜇m Mylar window → Beamline 8×10-8 mbar | Detector 800 mbar
Main reaction branches expected to observe:
22Ne(d,d)
22Ne(d,p)
22Ne(d,3He)
22Ne(d,t)
Analysis is ongoing

## Slide 25: Physics perspectives Simulation of a 70Zn(d, 3He)69Cu reaction

## Slide 26: Physics case
N=50
Z=28
Region of n-rich Ni towards 78Ni
Shell evolution in 69-75Cu

## Slide 27
Shell structure of odd Cu isotopes via
nucleon transfer reactions on Zn:
70Zn(d,3He)69Cu
72Zn(d,3He)71Cu
74Zn(d,3He)73Cu
76Zn(d,3He)75Cu
Physics case
Region of 78Ni
Z=28
1f7/2
1f5/2
(d,3He)
2p3/2
Protons in 72Zn
Protons in 71Cu*
3/2
5/2
[K.Flanagan, Phys. Rev. Lett., vol. 103, p. 142501, Oct 2009]
[T. Otsuka, et al., PRL, 104, 012501 (2010)]

## Slide 28
+ B-field =
4T
70Zn(d, 3He)69Cu reaction simulation
in G4 for SpecMAT
Cross section data from [P. Morfouace https://doi.org/10.1103/PhysRevC.93.064308], DWBA by J.C. Yang

## Slide 29
Proposing a new analysis method
4T no MICROMEGAS binning

## Slide 30
Excitation spectra obtained with the new analysis method
g.s.
1.11 & 1.23 MeV
1.71 & 1.87 MeV
3.35 MeV
3.7 & 3.94 MeV

## Slide 31
Analysis based on (full+partial)-track length
Gating on the gamma-ray spectrum

## Slide 32
Ejectile particle
Azimuthal angle
Polar angle (𝜃 lab)
Analysis based on (full+partial)-track length
Gating on the gamma-ray spectrum

## Slide 33
Analysis based on (full+partial)-track length
Gating on the gamma-ray spectrum

## Slide 34
Analysis based on (full+partial)-track length
Gating on the gamma-ray spectrum

## Slide 35: Summary
The SpecMAT active target was designed, built and tested.
The active target was characterised in 0T and in 2.5T.
An experimentally verified set of simulations was developed.
A novel analysis method of the spiral tracks was proposed.
Online commissioning of the detector with a 22Ne beam was successful.
We are upgrading the detector with THGEMs and preparing to the first experimental campaign with exotic RIBs.

## Slide 36: Thank you for your attention!

## Slide 37: Backup slides

## Slide 38
DWBA by B. Kay
70Zn(d, 3He)69Cu--9.5MeV/u--2.5T--D2@1bar
g.s.
1 MeV
2 MeV
3 MeV
4 MeV

## Slide 39
Measurement vs G4
-particle length spectra
Measurement
Geant4

## Slide 40
Geant4

## Slide 41
Geant4
Phi > 0 deg

## Slide 42
Geant4
Phi > 30 deg

## Slide 43
Analysis based on full-track length
0T with MICROMEGAS binning
Track parameters (, L) from fitting
4T no MICROMEGAS binning
Track parameters from G4

## Slide 44
Analysis based on full-track length
0T with MICROMEGAS binning
Track parameters (, L) from fitting
4T no MICROMEGAS binning
Track parameters from G4
Beam
Beam

## Slide 45
Analysis based on full-track length
0T with MICROMEGAS binning
Track parameters (, L) from fitting
4T no MICROMEGAS binning
Track parameters from G4

## Slide 46
Analysis based on full-track length
0T with MICROMEGAS binning
Track parameters (, L) from fitting
4T no MICROMEGAS binning
Track parameters from G4

## Slide 47
Analysis based on full-track length
0T with MICROMEGAS binning
4T no MICROMEGAS binning

## Slide 48
Analysis based on full-track length
Excitation spectra
g.s.
1.11 & 1.23 MeV
1.71 & 1.87 MeV
Res: 186 keV
Res: 111 keV