## Slide 1
DEVELOPMENT AND APPLICATIONS
OF THE GAS ELECTRON MULTIPLIER
Fabio Sauli
CERN
ICFA Instrumentation Award
TIPP 2023 Cape Town Sept 8
Dedicated to present and past friends of

## Slide 2
THE GAS ELECTRON MULTIPLIER (GEM)
THIN POLYMER FOIL PIERCED BY A HIGH DENSITY OF HOLES
F. Sauli,
Nucl. Instr. Meth. A386 (1997) 531
MAIN CHARACTERISTICS:
Fat Electron Signal
Position accuracy ~ 50 µm
Freedom of detector shape
Arbitrary pattern of readout
High rate Capability > 1 MHz mm2
Reduced positive ions backflow
No discharge propagation to anode
INDUCTION
DRIFT

## Slide 3
140 µm
70 µm
GEM MANUFACTURING
Photolithography & Wet Etching
Mechanical drilling
Large GEM (LEM)
Thick GEM (TH-GEM)

## Slide 4
SINGLE GEM
STANDARD 2-D XY READOUT
400 µm PITCH
PADS
XY STRIPS
XYU

## Slide 5
S. Bachmann et al,
Nucl. Instr. and Meth. A479(2002)294
CASCADED MULTI-GEM
DOUBLE GEM
TRIPLE GEM
HIGHER GAIN AT LOWER VOLTAGES
HIGHER DISCHARGE THRESHOLD

## Slide 6
GEM APPLICATIONS
HIGH ENERGY PHYSICS:
COMPASS Spectrometer
LHCB Fast Trigger
TOTEM
KLOE & BONUS RADIAL TPCs
PHENIX Hadron Blind
CMS Forward Muon
ALICE TPC Upgrade
COMPASS RICH
ASTROPHYSICS:
OPTICAL GEM Dark Matter Detector
DUNE, ARIADNE:
Dual Phase LA, LX detector
NEUTRON DETECTION:
Plasma Diagnostics
Spallation Source Monitoring
CASCADE: Neutron Radiography
SOFT X-RAY
Radiography
Fluorescence Analysis
Plasma Diagnostics
SPACE:
INTEGRAL JEM-X Monitor
IXPIE X-Ray Polarimter
CUBESAT
100

## Slide 7
C. Altunbas et al,
Nucl. Instr. Meth. A490(2002)480
2001: COMPASS TRIPLE-GEM TRACKER
30x30 cm2 SECTORED GEM
~ 200 ELECTRODES BUILT AT CERN

## Slide 8
COMPASS SPECTROMETER GEM TRACKER
~ 30 TRIPLE-GEM CHAMBERS OPERATING SINCE 2002
P. Abbon et al, Nucl. Instr. Meth. A577(2007)455

## Slide 9
TOTEM T2 CMS GEM TRACKER
M.G. Bagliesi et al, Nucl. Instr. Meth. A617(2010)134
HALF-MOON TRIPLE-GEM GEM DETECTORS FOR TOTEM AT CERN
OPERATING SINCE 2012

## Slide 10
CYLINDRICAL AND SPHERICAL GEMS
A. Balla et al,
Nucl. Instr. Meth. A732(2013)221
KLOE-2 INNER TRACKER
S. Duarte Pinto arXiv:1011.5528v1
IEEE 2011 Nucl. Sci. Symp. Conf. Rec.

## Slide 11
CMS FORWARD MUON DETECTOR
M. Bianco, CERN Seminar July 8, 2022

## Slide 12
CMS FORWARD MUON DETECTOR
GEM PRODUCTION AT CERN'S DETECTORS TECHNOLOGIES WORKSHOP

## Slide 13
CMS FORWARD MUON DETECTOR
2019: INSTALLATION OF 36 SUPER-CHAMBERS FOR FIRST
AND SECOND END-CAP
M. Bianco, JINST 15 (2020) C09045

## Slide 14
ALICE TPC GEM UPGRADE
72 GEM MODULES
J. Adolfsson et al, JINST 16 (20210) P03021
QUAD ALTERNATING GEMs FOR POSITIVE IONS BACKFLOW REDUCTION

## Slide 15
ALICE TPC UPGRADE
REPLACEMENT OF THE ENDCAP MWPCs WITH QUAD-GEM DETECTORS
OPERATING 2022

## Slide 16
T. Meinschad, L. Ropelewski and F. Sauli, Nucl. Instr. Meth. A 535(2004)324
GEM WITH REVERSE CsI PHOTOCATHODE
UV PHOTONS DETECTION
PHENIX HADRON BLIND DETECTOR
W. Anderson et al,
Nucl. Instr. Meth. A646(2011)35

## Slide 17
HYBRID MPGD: GEM + MICROMEGAS
LARGE GAINS, REDUCED POSITIVE IONS BACKFLOW
CHERENKOV RING
J. Agarwala et al, Nucl. Instr. Meth. A952(2020) ﻿161832
BEST OF BOTH WORDS: COMPASS RICH

## Slide 18
GEM APPLICATIONS OUTSIDE HEP
R. Bellazzini et al, Nucl. Instr. and Meth. A720(2013)173
5.9 keV PHOTOELECTRON
80 µm pixels pitch:
~ 1 mm
SOFT X-RAY POLARIMETRY

## Slide 19
GAS PIXEL DETECTOR
L. Baldini et al,
Astroparticle Physics (2021)
POLARIZATION MAP OF
221009A GAMMA RAY BURST
https://ixpe.msfc.nasa.gov/
LAUNCHED DECEMBER 15, 2021
X-RAY POLARIMETRY EXPLORER (IXPE)
2-8 keV
M. Negro et al,
Astro. J. Letters 946(1923)L21

## Slide 20
GEMPIX: HIGH ACCURACY TRACKING
TRIPLE GEM COUPLED TO A TMEPIX READOUT
~262,000) 55x55 µm PIXELS
S.P. George et al, JINST10(2015)P11003
F. Murtas, JINST9(2014)C01058
INTERACTING BEAM PARTICLES:
MICRODOSIMETRY:
STOPPING PROTON
J. Leidner et al, Appl. Sci. 11(2021)440

## Slide 21
MUON TRACKS
HADRONIC SHOWER
F. Brunbauer et al, JINST 13(2018) ﻿T02006
DELTA RAY
TRIPLE GEM
CCD CAMERA
TRIPLE GEM
CCD CAMERA
OPTICAL GEM IMAGING

## Slide 22
GLASS GEM
T. Fujiwara et al, Nucl. Instr. Meth. 878(2018)40
SOFT X-RAY ABSORPTION RADIOGRAPHY
OPTICAL GEM
CERN-GDD

## Slide 23
X-RAY FLUORESCENCE ANALYSIS
F. Brunbauer et al, JINST 13(2018) ﻿T02006

## Slide 24
OPTICAL GEM TPC
CYGNO:
DIRECTIONAL DARK MATTER SEARCH
D. Pinci et al,
Nucl. Instr. Meth. A936(2019)453
﻿I. Abritta et al,
J. Phys.Conf.Ser. 1498(2020)012016

## Slide 25
DUAL-PHASE CRYOGENIC TPC
A. Badertscher et al,
Nucl. Instr. Meth. A617(2009)188
LEM:
LARGE ELECTRON MULTIPLIER
1.6 mm PCB
500 µm holes at 800 µm pitch
(THICK-GEM)
XENON 100: Liquid Xenon Dark matter search detector
E. Aprile et al, Astroparticle Physics 35(2012)573

## Slide 26
ProtoDUNE:
DUAL PHASE LIQUID ARGON TPC
C. Cuesta et al, ﻿arXiv:1910.10115v1(2019)

## Slide 27
BUBBLE-ASSISTED
LIQUID HOLE MULTIPLIER
Amos Breskin 2015
L. Arazi et al, JINST10 (2015)P08015

## Slide 28
THE FUTURE ?

## Slide 29
THE FUTURE ?
DRD1:
DEVELPMENT OF GASEOUS DETECTOR TECHNOLOGIES
LARGE AREA TPC WITH SOLID STATE PIXEL READOUT
FAST (MHz?) OPTICAL GEM IMAGERS
LIQUID HOLE MULTIPLIERS
………..

## Slide 30
THANKS FOR YOUR ATTENTION
AND THE APPRECIATION OF MY WORK